## FolderReportMainPage
| Result: |  |  | 20250313_SMN2-S_Z-023841_1_2_S1C05_R1.bopx
| Test Time: |  |  | 2025-Mar-13 18:12(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 114
| Method: |  |  | M-4-10-08-160 |  |  |  | Cartridge & Run Number: |  |  |  | S2-O-250310-4 & 148
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2025-Mar-10 & 2025-Sep-06
| Sample ID: |  |  | SMN2-S_Z-023841_1:2 |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 65.56 |  | 1.02 |  | 7,081 |  | <LM |  | N/A |  | 65.12 | 65.80
|  | 2 | 67.28 |  | 14.24 |  | 113,433 |  | 20 |  | N/A |  | 66.28 | 68.32
|  | 3 | 75.44 |  | 0.17 |  | 5,337 |  | 82 |  | 0.03 |  | 73.20 | 76.68
|  | 4 | 100.60 |  | 15.57 |  | 308,428 |  | 289 |  | 0.89 |  | 98.76 | 101.80
|  | 5 | 102.84 |  | 0.47 |  | 12,743 |  | 312 |  | 0.05 |  | 101.80 | 103.12
|  | 6 | 104.24 |  | 9.63 |  | 198,279 |  | 331 |  | 0.72 |  | 103.12 | 107.60
|  | 7 | 120.24 |  | 9.67 |  | 217,782 |  | 1,000 |  | N/A |  | 119.12 | 122.52
|  | 8 | 122.60 |  | 0.19 |  | 1,658 |  | 1,273 |  | N/A |  | 122.52 | 122.84
|  | 9 | 123.04 |  | 0.19 |  | 3,056 |  | 1,349 |  | N/A |  | 122.84 | 123.48
|  | 10 | 123.60 |  | 0.18 |  | 6,130 |  | 1,453 |  | N/A |  | 123.48 | 125.16
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /1