## FolderReportMainPage
| Result: |  |  | 20250313_SMN2-S_Z-1-3_6_S1C09_R1.bopx
| Test Time: |  |  | 2025-Mar-14 10:46(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 114
| Method: |  |  | M-4-10-08-160 |  |  |  | Cartridge & Run Number: |  |  |  | S2-O-250310-4 & 133
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2025-Mar-10 & 2025-Sep-06
| Sample ID: |  |  | SMN2-S_Z-1-3/6 |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 67.80 |  | 1.15 |  | 8,424 |  | <LM |  | N/A |  | 67.32 | 68.08
|  | 2 | 69.72 |  | 14.98 |  | 122,697 |  | 20 |  | N/A |  | 68.44 | 70.96
|  | 3 | 77.96 |  | 0.17 |  | 6,798 |  | 81 |  | 0.03 |  | 76.32 | 80.40
|  | 4 | 103.92 |  | 11.64 |  | 233,286 |  | 291 |  | 0.68 |  | 102.08 | 105.00
|  | 5 | 106.16 |  | 0.39 |  | 12,245 |  | 315 |  | 0.04 |  | 105.00 | 106.48
|  | 6 | 107.56 |  | 8.58 |  | 164,781 |  | 333 |  | 0.58 |  | 106.48 | 108.60
|  | 7 | 108.64 |  | 0.35 |  | 12,386 |  | 349 |  | 0.04 |  | 108.60 | 111.64
|  | 8 | 123.72 |  | 9.50 |  | 222,128 |  | 1,000 |  | N/A |  | 122.52 | 126.36
|  | 9 | 126.44 |  | 0.23 |  | 9,864 |  | 1,326 |  | N/A |  | 126.36 | 128.32
|  | 10 | 128.44 |  | 0.17 |  | 1,734 |  | 1,718 |  | N/A |  | 128.36 | 128.72
|  | 11 | 128.88 |  | 0.18 |  | 3,699 |  | 1,814 |  | N/A |  | 128.76 | 131.24
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /1