## FolderReportMainPage
| Result: |  |  | 20250313_SMN2-S_Z-B27-11_12_4_3_3_S1C07_R1.bopx
| Test Time: |  |  | 2025-Mar-14 10:36(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 114
| Method: |  |  | M-4-10-08-160 |  |  |  | Cartridge & Run Number: |  |  |  | S2-O-250310-4 & 135
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2025-Mar-10 & 2025-Sep-06
| Sample ID: |  |  | SMN2-S_Z-B27-11_12/4_3:3 |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 64.64 |  | 1.22 |  | 8,211 |  | <LM |  | N/A |  | 64.20 | 64.88
|  | 2 | 66.32 |  | 14.11 |  | 107,678 |  | 20 |  | N/A |  | 65.32 | 67.28
|  | 3 | 74.24 |  | 0.19 |  | 5,923 |  | 84 |  | 0.03 |  | 72.20 | 75.44
|  | 4 | 98.12 |  | 11.10 |  | 213,421 |  | 294 |  | 0.70 |  | 96.48 | 99.28
|  | 5 | 101.44 |  | 5.20 |  | 106,744 |  | 338 |  | 0.41 |  | 99.28 | 102.36
|  | 6 | 102.84 |  | 0.24 |  | 8,031 |  | 360 |  | 0.03 |  | 102.36 | 104.68
|  | 7 | 116.04 |  | 9.48 |  | 224,209 |  | 1,000 |  | N/A |  | 114.84 | 120.00
|  | 8 | 120.24 |  | 0.20 |  | 2,189 |  | 1,683 |  | N/A |  | 120.00 | 120.40
|  | 9 | 120.68 |  | 0.20 |  | 5,163 |  | 1,791 |  | N/A |  | 120.40 | 123.32
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /1