## FolderReportMainPage
| Result: |  |  | 20250314-1_SMN2-S-226_z-14-3_6_S1C07_R1.bopx
| Test Time: |  |  | 2025-Mar-14 14:05(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 114
| Method: |  |  | M-4-10-08-160 |  |  |  | Cartridge & Run Number: |  |  |  | S2-O-250310-4 & 104
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2025-Mar-10 & 2025-Sep-06
| Sample ID: |  |  | SMN2-S-3/7_z-14-3/6 |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 60.32 |  | 0.71 |  | 4,953 |  | <LM |  | N/A |  | 60.00 | 60.56
|  | 2 | 61.48 |  | 13.60 |  | 88,075 |  | 20 |  | N/A |  | 60.80 | 62.28
|  | 3 | 68.80 |  | 0.17 |  | 5,947 |  | 85 |  | 0.02 |  | 67.28 | 71.60
|  | 4 | 90.04 |  | 10.66 |  | 190,423 |  | 299 |  | 0.48 |  | 88.40 | 91.16
|  | 5 | 92.88 |  | 9.83 |  | 181,635 |  | 339 |  | 0.45 |  | 91.16 | 94.12
|  | 6 | 94.24 |  | 0.19 |  | 1,097 |  | 360 |  | <0.01 |  | 94.16 | 94.36
|  | 7 | 94.76 |  | 0.19 |  | 4,880 |  | 369 |  | 0.01 |  | 94.36 | 96.16
|  | 8 | 106.56 |  | 8.46 |  | 192,507 |  | 1,000 |  | N/A |  | 105.52 | 109.08
|  | 9 | 109.16 |  | 0.30 |  | 7,629 |  | 1,396 |  | N/A |  | 109.12 | 110.20
|  | 10 | 110.84 |  | 0.30 |  | 5,205 |  | 1,808 |  | N/A |  | 110.20 | 110.92
|  | 11 | 111.00 |  | 0.30 |  | 6,199 |  | 1,842 |  | N/A |  | 110.92 | 112.72
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /1