## FolderReportMainPage
| Result: |  |  | 20250314-1_SMN2-S-3_7_Z-zoe_S1F05_R1.bopx
| Test Time: |  |  | 2025-Mar-14 16:21(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 114
| Method: |  |  | M-4-10-08-160 |  |  |  | Cartridge & Run Number: |  |  |  | S2-O-250310-4 & 82
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2025-Mar-10 & 2025-Sep-06
| Sample ID: |  |  | SMN2-S-3/7_Z-zoe |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 59.80 |  | 0.66 |  | 4,892 |  | <LM |  | N/A |  | 59.48 | 60.08
|  | 2 | 60.88 |  | 14.13 |  | 87,903 |  | 20 |  | N/A |  | 60.20 | 61.68
|  | 3 | 68.04 |  | 0.18 |  | 4,679 |  | 84 |  | 0.02 |  | 66.76 | 69.08
|  | 4 | 88.80 |  | 10.26 |  | 181,683 |  | 297 |  | 0.47 |  | 87.28 | 90.64
|  | 5 | 91.64 |  | 6.80 |  | 127,543 |  | 337 |  | 0.32 |  | 90.64 | 93.84
|  | 6 | 105.20 |  | 8.86 |  | 205,988 |  | 1,000 |  | N/A |  | 104.04 | 109.12
|  | 7 | 109.32 |  | 0.22 |  | 5,710 |  | 1,786 |  | N/A |  | 109.12 | 111.76
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /1