## FolderReportMainPage
| Result: |  |  | 20250314-1_SMN2-S-2_26_SC_1_1_3_13_S1C02_R1.bopx
| Test Time: |  |  | 2025-Mar-14 13:41(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 114
| Method: |  |  | M-4-10-08-160 |  |  |  | Cartridge & Run Number: |  |  |  | S2-O-250310-4 & 109
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2025-Mar-10 & 2025-Sep-06
| Sample ID: |  |  | SMN2-S-2/26_SC_1:1_3/13 |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 60.80 |  | 0.81 |  | 5,428 |  | <LM |  | N/A |  | 60.48 | 61.04
|  | 2 | 62.04 |  | 13.29 |  | 88,713 |  | 20 |  | N/A |  | 61.36 | 62.88
|  | 3 | 69.48 |  | 0.19 |  | 5,464 |  | 85 |  | 0.02 |  | 67.84 | 70.92
|  | 4 | 91.16 |  | 4.95 |  | 87,152 |  | 300 |  | 0.22 |  | 90.00 | 92.04
|  | 5 | 94.04 |  | 8.02 |  | 142,428 |  | 340 |  | 0.35 |  | 93.04 | 95.16
|  | 6 | 96.24 |  | 0.17 |  | 9,467 |  | 376 |  | 0.02 |  | 95.16 | 99.80
|  | 7 | 107.84 |  | 8.56 |  | 186,355 |  | 1,000 |  | N/A |  | 106.80 | 110.16
|  | 8 | 110.32 |  | 0.22 |  | 6,422 |  | 1,362 |  | N/A |  | 110.16 | 111.44
|  | 9 | 111.52 |  | 0.17 |  | 1,000 |  | 1,636 |  | N/A |  | 111.44 | 111.64
|  | 10 | 111.80 |  | 0.17 |  | 1,199 |  | 1,707 |  | N/A |  | 111.72 | 111.96
|  | 11 | 112.24 |  | 0.18 |  | 2,927 |  | 1,819 |  | N/A |  | 112.24 | 114.68
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /1