## FolderReportMainPage
| Result: |  |  | 20250314-1_SMN2-S-2-2_26_Z-zoe_S1F03_R1.bopx
| Test Time: |  |  | 2025-Mar-14 16:11(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 114
| Method: |  |  | M-4-10-08-160 |  |  |  | Cartridge & Run Number: |  |  |  | S2-O-250310-4 & 84
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2025-Mar-10 & 2025-Sep-06
| Sample ID: |  |  | SMN2-S-2-2/26_Z-zoe |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 59.40 |  | 0.64 |  | 4,655 |  | <LM |  | N/A |  | 59.08 | 59.68
|  | 2 | 60.48 |  | 13.80 |  | 86,113 |  | 20 |  | N/A |  | 59.80 | 61.28
|  | 3 | 67.60 |  | 0.18 |  | 5,682 |  | 84 |  | 0.02 |  | 66.40 | 70.16
|  | 4 | 88.28 |  | 9.26 |  | 160,230 |  | 297 |  | 0.42 |  | 86.72 | 89.24
|  | 5 | 91.08 |  | 8.38 |  | 150,666 |  | 337 |  | 0.38 |  | 89.36 | 92.00
|  | 6 | 93.04 |  | 0.18 |  | 6,959 |  | 369 |  | 0.02 |  | 92.00 | 94.44
|  | 7 | 104.60 |  | 9.27 |  | 206,212 |  | 1,000 |  | N/A |  | 103.24 | 106.76
|  | 8 | 106.84 |  | 0.32 |  | 9,787 |  | 1,330 |  | N/A |  | 106.76 | 108.12
|  | 9 | 108.20 |  | 0.25 |  | 1,683 |  | 1,650 |  | N/A |  | 108.12 | 108.36
|  | 10 | 108.72 |  | 0.25 |  | 7,329 |  | 1,792 |  | N/A |  | 108.40 | 111.12
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /1