## FolderReportMainPage
| Result: |  |  | 20250314-1_SMN2-S-2_26_z-8-3_6_S1C06_R1.bopx
| Test Time: |  |  | 2025-Mar-14 14:00(UTC+08) |  |  |  | Instrument ID: |  |  |  | 4284008323240000
| Operator: | [6 empty] | Software & Firmware Version: |  |  |  | 3.4.3 & 114
| Method: |  |  | M-4-10-08-160 |  |  |  | Cartridge & Run Number: |  |  |  | S2-O-250310-4 & 105
| Sample Name: | [6 empty] | Manufacture & Expiration Date: |  |  |  | 2025-Mar-10 & 2025-Sep-06
| Sample ID: |  |  | SMN2-S-2/26_z-8-3/6 |  |  |  | Alignment Marker: |  |  |  | 20-1K (20 bp & 1K bp)
|  | No | Time (sec.) |  | RFU |  | PeakArea |  | bp |  | Concn. (ng/µl) |  | PeakStart (sec.) | PeakEnd (sec.)
|  | 1 | 60.72 |  | 0.74 |  | 5,332 |  | <LM |  | N/A |  | 60.40 | 61.04
|  | 2 | 61.96 |  | 14.04 |  | 92,356 |  | 20 |  | N/A |  | 61.16 | 62.80
|  | 3 | 69.32 |  | 0.18 |  | 5,324 |  | 84 |  | 0.02 |  | 68.20 | 70.76
|  | 4 | 90.96 |  | 10.11 |  | 174,441 |  | 298 |  | 0.44 |  | 89.40 | 92.00
|  | 5 | 93.88 |  | 9.16 |  | 164,718 |  | 338 |  | 0.40 |  | 92.20 | 94.96
|  | 6 | 95.72 |  | 0.17 |  | 3,406 |  | 368 |  | <0.01 |  | 94.96 | 95.80
|  | 7 | 96.00 |  | 0.16 |  | 3,207 |  | 372 |  | <0.01 |  | 95.84 | 97.24
|  | 8 | 107.80 |  | 8.90 |  | 201,292 |  | 1,000 |  | N/A |  | 106.76 | 111.28
|  | 9 | 111.52 |  | 0.21 |  | 2,040 |  | 1,645 |  | N/A |  | 111.28 | 111.64
|  | 10 | 112.16 |  | 0.24 |  | 7,556 |  | 1,810 |  | N/A |  | 111.64 | 114.32
Copyright 2005 - 2022 BiOptic Inc. | [5 empty] | 1 |  |  |  | /1